## Slide 1
ZERO
EXPOSURE
Securing Grand Marina's IoT Water Monitoring Pipeline
Oluwagbemileke (Gbemi) Adesiyan
Cybersecurity Extern | Livingstone College | Hydroficient | March 2026

## Slide 2
THE SITUATION
A 500-Room Hotel.
Three Sensors. Zero Protection.
Grand Marina Hotel monitors its entire water infrastructure using three HYDROLOGIC IoT sensors transmitting live pressure, flow rate, and valve data across the hotel network — completely unprotected.
🏢
Main Building
🏊
Pool & Spa
🍽️
Kitchen & Laundry
PRIOR INCIDENT
$4.2M
in water damage
The monitoring system that should have caught it was completely exposed.

## Slide 3
THREAT ANALYSIS
We Started With a Threat Model — Not a Guess.
Using the STRIDE framework, we mapped every possible attack vector before writing a single line of code.
S
Spoofing
Fake devices impersonating sensors
T
Tampering
Modifying sensor readings in transit
R
Repudiation
Denying malicious actions occurred
I
Information Disclosure
Intercepting private sensor data
D
Denial of Service
Overwhelming the MQTT broker
E
Elevation of Privilege
Gaining unauthorised remote control
FINDING: The unprotected pipeline was vulnerable to all six STRIDE categories simultaneously.

## Slide 4
THE COMPLICATION
Three Vulnerabilities.
All Proven in Testing.
01
No Encryption
Test: Ran a single command on the hotel network.
Result: Intercepted all sensor readings in plain text within seconds. Fully readable — no hacking tools required.
02
No Device Identity
Test: Connected an unauthorised device to the broker.
Result: Accepted immediately. The broker couldn't distinguish a genuine HYDROLOGIC sensor from a rogue device.
03
No Message Authentication
Test: Captured 5 messages, replayed them 4 minutes later.
Result: Subscriber accepted all 5 without a single error or warning. Replay attacks completely undetected.
0 defenses active · 0 attacks blocked · 100% exposure confirmed

## Slide 5
THE RESOLUTION
Six Weeks. Three Security Layers.
Zero Exposure.
WEEK 4
🔒 TLS Encryption
Encrypted the communication channel. Nobody can read sensor data in transit.
WEEK 5
🪪 mTLS Device Identity
Every device proves who it is. Unauthorised devices rejected at the door.
WEEK 6
🛡️ Replay Attack Protection
HMAC-SHA256 + timestamp + sequence counter. Every message verified as fresh and untampered.
WEEK 7
📊 GbemiShield Dashboard
Everything visible in real time. Live sensor data and attack alerts on one screen.
From wide open → fully defended in six weeks.

## Slide 6
WEEK 4 EVIDENCE
TLS Encryption — Proven Results
Eavesdropping Test
BLOCKED
“WinError 10061 — connection refused before any data exchanged”
Wrong CA Test
REJECTED
“CERTIFICATE_VERIFY_FAILED — impersonation attempt caught”
No Verification Test
RISK IDENTIFIED
“Proved cert validation must always be enforced”
0.16%
TLS latency overhead
0.08ms
Added per message
50 msg/s
Peak load — handled
4/4
Security tests passed

## Slide 7
WEEK 5 EVIDENCE
mTLS Device Identity — 4/4 Tests Passed
A. Valid certificate connects
Authorised devices connect normally
✓ PASS
B. No certificate rejected
Rogue devices blocked at the broker
✓ PASS
C. Wrong CA rejected
Only Grand Marina CA-signed certs accepted
✓ PASS
D. Expired certificate rejected
Certificate lifecycle enforced automatically
✓ PASS
mTLS Benchmark: +2.5ms handshake overhead (11.5%) · 0.0ms message latency overhead · Operationally invisible

## Slide 8
WEEK 6 EVIDENCE
Replay Attack Protection — 12 Experiments
Defense | Immediate Replay | Delayed Replay | Modified Replay
No Defense | 0% blocked | 0% blocked | 0% blocked
Timestamp Only | 0% blocked | 100% blocked | 0% blocked
Sequence Only | 100% blocked | 100% blocked | 0% blocked
All Three Defenses | 100% blocked | 100% blocked | 100% blocked
KEY FINDING
No single defense is sufficient. Only the combination of all three achieves 100% rejection across every attack type — including tampered data designed to hide a pipe burst.

## Slide 9
WEEK 7 EVIDENCE
GbemiShield — Live Security Dashboard
[ Insert GbemiShield Dashboard Screenshot Here ]
🟢 All three HYDROLOGIC devices live
📊 Pressure, flow rate, gate position
🔴 Real-time attack alerts
📋 Security event log
🛡️ 5 attacks blocked live during demo
🔗 WebSocket — updates without refresh

## Slide 10
THE NUMBERS
Everything We Built. Proven by Data.
100%
Attack rejection rate
(all three defenses)
0.16%
TLS latency overhead
(negligible)
2.5ms
mTLS handshake overhead
(once per connection)
12
Controlled experiments
across 4 configurations
4/4
mTLS security
tests passed
0.0ms
Message latency
after connection

## Slide 11
RECOMMENDATION
Enable All Three Defenses Permanently.
🔒
Keep TLS Encryption ON
Port 8883 is the minimum. The 0.16% overhead is operationally invisible against Grand Marina's 2-second publish cycle.
🪪
Keep mTLS Device Verification ON
require_certificate true in Mosquitto. The 2.5ms handshake overhead happens once per connection — not per message.
🛡️
Keep Replay Protection ON
Timestamp + sequence + HMAC must all run together. Individual defenses leave blind spots. The combination achieves 100%.
📊
Run GbemiShield Dashboard 24/7
Marcus doesn't need a terminal. The dashboard shows every attack, every alert, every device status — in real time.

## Slide 12
NEXT STEPS
Where Do We Go From Here?
IMMEDIATE
→ Store HMAC secret in environment variable — never in source code
→ Enable all three defenses on all three HYDROLOGIC devices permanently
→ Run GbemiShield dashboard 24/7 for operations team visibility
30 DAYS
→ Set up automated alerts when rejection rate spikes above normal
→ Expand replay protection to cover the remote shutoff command channel
→ Document security configuration for compliance audit trail
LONG TERM
→ Migrate HMAC secret to AWS Secrets Manager for automatic rotation
→ Deploy full pipeline on AWS IoT Core infrastructure
→ Upgrade to TLS 1.3 — halves handshake time, removes weak ciphers

## Slide 13
THE GAP
What Happens When Every
Check Passes — But Something
Is Still Wrong?
Day 1
59 PSI
normal
Day 2
61 PSI
normal
Day 3
63 PSI
drifting
Day 4
66 PSI
warning
Day 5
BURST
critical
mTLS ✓ HMAC ✓ Timestamp ✓ Sequence ✓ — every rule passed. No alert fired.
THE BLIND SPOT
This is what kept security engineers up at night — until AI.

## Slide 14
WEEK 8 EVIDENCE
Isolation Forest — Catching
What Rules Miss
Model | Real-Time? | Needs Scaling? | Verdict
Isolation Forest | Yes ✅ | No ✅ | SELECTED
Local Outlier Factor | No ❌ | No ✅ | Batch only
One-Class SVM | Yes ✅ | Yes ⚠️ | Too slow
🟢 Green
All checks passed — normal reading
🟠 Orange
AI flagged unusual pattern — investigate
🔴 Red
Rule blocked — attack detected
Trained on 1,000 normal readings · Scores every message in real time · Catches gradual drift rules never see

## Slide 16
ZERO EXPOSURE.
Achieved.
Oluwagbemileke (Gbemi) Adesiyan
Cybersecurity Extern | Livingstone College
Hydroficient IoT Security Externship | March 2026
TLS Encryption · mTLS Device Identity · Replay Attack Protection · GbemiShield Dashboard